1. Close door, switch off the light in the hutch
2. Set new file name in EPICS-Panel
  1. press the big enter, not the one besides the numerical panel
3. Exposure time / binning / Energy
  1. Histogram → peak of number of pixel grey values at 40'000 - 50'000 (→ over and under exposure!)
  2. Image over flat (min. 2000 - 3000)
  3. Put Exposuretime to settings panel
4. Out of beam position
5. XX position
6. ZZ position
7. Snap / switch off preview
8. correct camserver?
  1. Camera Server FIFO
  2. Camera Server FIFO Snap&Step
9. Toggle start
  1. either manually or with
  2. './widefieldscan_final.py scanscript.txt' on x02da-cons-2
  3. or perform a stacked scan